## Slide 1: Residential Construction from the Ground UP
Jason Jorgensen – Mille Lacs County Assessor
Erik Skogquist - Contracted Local assessor

## Slide 2
Slab home
No basement or crawl space

## Slide 3
Doublewide on Piers
House is supported by piers or columns as foundation

## Slide 4
Crawl space
House sits only part way in ground not a basement

## Slide 5
Crawl space entrance
A small opening for access to the crawl space under house

## Slide 6
Full Basement
Typically dug 8’or more in the ground to allow for living space

## Slide 7
Full Basement with Egress Windows
Egress windows are large basement windows that allow for fire escape

## Slide 8
Full Basement with walkout
Typically built on a hill side to allow for entry doors in basement

## Slide 9
Full Basement with Tuck under Garage
Similar to a walkout only with a garage under the house

## Slide 10
Split Entry/Split Foyer
Typically 4’ in the ground with basement and the ability for a walkout

## Slide 11
Split Level/ Tri Level Split
Similar to previous but could possibly have full basement under main entrance portion

## Slide 12
Footing and Gravel Fill under slab
Foundation footings are the structural base for the entire house

## Slide 13
Basement Slab Insulation and In-Floor Heat
This is a in floor heat system that is laid in place prior to the pouring of the basement slab. The blue foam insulates the slab and helps retain the heat for the system.

## Slide 14
Cutaway for a Slab home

## Slide 15
Crawl Space Excavation & Walls
Typical crawl space with poured walls and center floor support

## Slide 16
Drain tile into Sump Basket
Drain tile channels water into a sump basket so to keep water out of the basement

## Slide 17
Insulation - Exterior
High density foam creates a temperature barrier between the ground and the foundation wall

## Slide 18
Insulation – interior Solid and Batt
High density foam = Polystyrene
Batted insulation = Fiberglass

## Slide 19
Varied thickness bases on Load
Basement walls are designed by engineers and vary in thickness and material due to their specific maximum load capacity

## Slide 20
Stone – Older Homes
Stone foundations will be found on older homes used prior to block

## Slide 21
Concrete Block
Concrete block has staggered seams that are symmetrical in pattern

## Slide 22
Wood - .40 / .60 treated grade
Wood foundations made of green treated lumber and plywood

## Slide 23
Insulated Concrete Form (ICF)
ICF is made from white Styrofoam blocks that are core filled with concrete on the inside

## Slide 24
Poured Basement Wall
Poured wall are solid concrete and typical have vertical lines from the panel forms

## Slide 25
Dimensional Lumber
This floor system is made of solid wood 2x material

## Slide 26
TGI / I-Joist
Made in the form of an I-joist from laminated wooden materials

## Slide 27
Floor Trusses – Parallel Chord
Made of 2 x 4’s and engineered to span open areas w/o support

## Slide 28
Laminated beams
Stronger than dimensional lumber and has many layers of wood that have been glued and compressed together

## Slide 29
Subfloor
Subfloor is typically a 4 x 8 sheet of strand board that is glued and nailed to top of the joists

## Slide 30
Wall Construction
These are example of some of the most popular types of wall framing

## Slide 31
Standard Framing
“Stick Framing” is the term for the most common type of house framing, it uses standard dimensional lumber spaced 16” on center for most of the build

## Slide 32
Engineered Studs - Staggered
These studs are man made from pieces of wood that are glued and pressed together

## Slide 33
Log Frame
Real logs that are scribed and stacked to form a interlocking wall

## Slide 34
Engineered Square Log
Another version of a log home

## Slide 35
Timber Frame – Continued
These homes have large timbers for main support then areas are filled in with studs

## Slide 36
Pole Frame
This method uses square poles 8’-10’ apart for frame structure then is finished in a variety of ways

## Slide 37
Single Wall
Single wall const. is where the exterior siding material is fastened directly to stud wall
Lower grade construction
Typical with T1-11 plywood
Garages and older homes

## Slide 38
Double Wall
This is typical wall construction for a residential build
Plywood over studs
Moisture barrier
Siding material

## Slide 39
Insulation – fiberglass Batt
This fluffy insulation comes in a variety of colors and is the least expensive method

## Slide 40
Insulation – fiberglass Kraft face
Same as fiberglass insulation only it has a resin coated paper lined face that acts as a vapor barrier

## Slide 41
Insulation - Spray Foam
This method is sprayed into wall or ceiling cavity and is high quality insulation

## Slide 42
Insulated Panel
These panels have insulation sandwiched between plywood sheathing

## Slide 43
Sheathing – OSB / Waferboard
Most popular and economical sheathing used in the building industry for walls and roofs

## Slide 44
Weather Barrier – Tyvek House Wrap
House wraps are designed allow a home to breath from the inside while reducing air and moisture penetration from the outside

## Slide 45
Common Truss Construction

## Slide 46
Truss layout (Attic Trusses)
Specially designed truss for bonus room in the attic space

## Slide 47
Factory truss machine and gusset
Steel gusset plates pressed down in a large machine lock together 2x4’s to a form truss

## Slide 48
Homemade truss
These trusses have plywood gussets

## Slide 49
TGI I-Joist
Custom engineered and hand framed

## Slide 50
Roof Styles
Hip Roof
Flat Roof
No gable ends
Roof lines meet forming a ridge
Rubber or tar material
Very minimal slope

## Slide 51
Roof Style Continued
Gable Roof with Dormers
Gable Roof
Most common roof type
Walls form triangle to peak
Dormers protrude from roof line to provide more living space

## Slide 52
Gable and Hip combination

## Slide 53
Roof Styles Continued
Gambrel Roof
Mansard Roof
Barn like roof
Steep sides flat top

## Slide 54
Roof Pitch = Inch/Inch

## Slide 55
Roof Decking Materials
OSB-Oriented Strand Board
Good
Plywood
Better

## Slide 56
Roofing Materials - Asphalt
3 Tab single layer
Good quality
Architectural multiple layer
Better quality

## Slide 57
Roofing Materials High End Traditional
Cedar Shake
Clay Tile
Slate

## Slide 58
Roofing Materials - Steel
Standing Seam Panel
Faux Clay Tile Panel

## Slide 59
Soffits, Fascia, Gutters
Composite Soffit & Fascia

## Slide 60
Plumbing Rough In
Typical rough in for plumbing

## Slide 61
Piping Supply and Waste Continued
PVC
(vent and waste)
PEX
(supply lines)

## Slide 62
Electrical Boxes
Circuit Breaker Panel 1950+
Fuse Panel 1950-