## Slide 1: Residential Construction from the Ground UP
Jason Jorgensen - Meeker County Assessor
Erik Skogquist - Contracted Local assessor

## Slide 2
Elevation
What type of home is a property good for?

## Slide 3
Typical Basement Styles

## Slide 4
Slab home

## Slide 5
Doublewide on Piers

## Slide 6
Crawl space

## Slide 7
Crawl space entrance

## Slide 8
Full Basement

## Slide 9
Full Basement with Egress Windows

## Slide 10
Full Basement with walkout

## Slide 11
Full Basement with Tuck under Garage

## Slide 12
Split Entry/Split Foyer

## Slide 13
Split Level/ Tri Level Split

## Slide 14
Basement/Site Prep options
What parts of the house are underground or unseen?

## Slide 15
excavation

## Slide 16
Footing and Gravel Fill under slab

## Slide 17
Basement Slab Insulation and In-Floor Heat

## Slide 18
Cutaway for a Slab home

## Slide 19
Crawl Space Excavation & Walls

## Slide 20
Footing/Drain Tile/Waterproofing

## Slide 21
Membrane Waterproofing

## Slide 22
Drain tile into Sump Basket

## Slide 23
Sump Hole with Radon Mitigation

## Slide 24
Insulation - Exterior

## Slide 25
Insulation – interior Solid and Batt

## Slide 26
Backfill – Gravel

## Slide 27
Basement/ Wall Types
What are the various sizes, styles, and materials used to build a foundation?

## Slide 28
Varied thickness bases on Load

## Slide 29
Stone – Older Homes

## Slide 30
Concrete Block

## Slide 31
Wood - .40 / .60 treated grade

## Slide 32
Insulated Concrete Form (ICF)

## Slide 33
Poured Basement Wall

## Slide 34
Floor Structural System
What is the floor structure made of and how is it supported?

## Slide 35
Slab on Grade

## Slide 36
Dimensional Lumber

## Slide 37
Dimensional Lumber - Sizes

## Slide 38
Trusses – Parallel Chord

## Slide 39
TGI I-Joist

## Slide 40
Laminated beams

## Slide 41
Subfloor – New Construction

## Slide 42
Subfloor - types

## Slide 43
Wall Construction
What is standard, balloon frame, pole frame, log frame, and timber frame construction?

## Slide 44
Standard Framing

## Slide 45
Typical Wall Layout

## Slide 46
Balloon Framing – Older Homes, Staircases

## Slide 47
Engineered Studs - Staggered

## Slide 48
Log Frame

## Slide 49
Log Frame – Jason’s House

## Slide 50
Engineered Square Log

## Slide 51
Timber Frame – Continued

## Slide 52
Steel Stud

## Slide 53
Pole Frame

## Slide 54
Single Wall

## Slide 55
Double Wall

## Slide 56
Insulation - Batt

## Slide 57
Insulation - Batt with Kraft Face

## Slide 58
Insulation - Spray Foam

## Slide 59
R-Value Variation

## Slide 60
R-Value Chart

## Slide 61
Insulated Panel

## Slide 62
Sheeting – Dimensional

## Slide 63
Sheeting - OSB or Wafferboard

## Slide 64
Sheeting - Plywood

## Slide 65
Sheeting – Builtrite

## Slide 66
Vapor Barrier – Tyvek House Wrap

## Slide 67
Vapor Barrier – Tar Paper

## Slide 68
Vapor barrier – Interior POly

## Slide 69
Roof Structure
What are the different roof styles and how are they built?

## Slide 70
Common Truss Construction

## Slide 71
Truss layout (Attic Trusses)

## Slide 72
Types of Truss Design

## Slide 73
Factory truss machine and gusset

## Slide 74
Homemade truss

## Slide 75
TGI I-Joist

## Slide 76
Dimensional Lumber

## Slide 77
Steel Construction

## Slide 78
Roof Styles
Hip Roof
Flat Roof

## Slide 79
Roof Style Continued
Gable Roof with Dormers
Gable Roof

## Slide 80
Gable and Hip

## Slide 81
Roof Styles Continued
Gambrel Roof
Mansard Roof

## Slide 82
Roof Pitch = Inch/Inch

## Slide 83
Roof Materials
What types of decking and roof covers are there and what are soffits, eaves, fascia?

## Slide 84
Decking
Oriented Strand board (OSB) Plywood

## Slide 85
Decking Continued
Tung and Groove (T&G) 1x (1x6 1x8, or multiple)

## Slide 86
Roofing Materials - Asphalt
3 Tab Architectural

## Slide 87
Roofing Materials High End Traditional
Cedar Shingle Clay Tile
Slate

## Slide 88
Roofing Materials - Steel
Steel Panel Steel Shingle

## Slide 89
Soffits, Fascia, Gutters
(Composite Soffit and Fascia)

## Slide 90
Soffits, Fascia, Gutters
Wood Aluminum

## Slide 91
Gutter material
Vinyl Seamless Steel
Copper

## Slide 92
House Construction Time Lapse Video
https://www.youtube.com/watch?v=SSWsiDkCIyY

## Slide 93
Plumbing
What are the different materials used for plumbing a home and where does the good stuff go when you flush it down the toilet?

## Slide 94
Plumbing Rough In

## Slide 95
Piping Supply and Waste
Copper (Both) Galvanized Steel (Both)
Cast Iron (Waste)

## Slide 96
Piping Supply and Waste Continued
PVC (Both) PEX (Supply)

## Slide 97
Water heater with Recirculation Pump

## Slide 98
Piping Supply and Waste Continued
Typical Septic Mound System

## Slide 99
Electrical
Fuses vs Breakers, 100-200 Amp Service and what the heck is Knob and Tube?

## Slide 100
Electrical Boxes
Breaker Panel 1950s + Fuse Box Pre 1950s

## Slide 101
Wiring Rough in

## Slide 102
Wiring types
Romex (copper) Aluminum

## Slide 103
Older Wiring types
Cloth Prior to 1960 Knob and Tube 1880s-1930s